

**Protocol**

**Orientation for use of Chairside Suction Device**

This must be read prior to use!

* Keep suction tip turned up when not in use!
* Turn suction on before turning tip down to place in patient’s mouth.
* Keep suction ‘on’ when removing it from patient’s mouth.
* Empty or notify appropriate person to empty waste after each patient.
* Run appropriate solution through suction prior to emptying.
* Thoroughly sanitize metal tip and lines after each patient.

Questions or concerns? See Dr. Dickinson or other appropriate staff for usage questions. 5/2015